| Activity | Role based permissions |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Admin | Supervisor | Manager | QA | Shift Officer | Operator |
| Login | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ |
| Logout | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ |
| Notifications | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ |
| Password Change by themself | ✓ | ✓ | ✓ | ✓ | ✓ | ✓ |
| Audit Trail | ✓ |  | ✓ | ✓ |  |  |
| User management (Add, active, inactive, password reset, edit user) | ✓ | - | - | - | - | - |
| Password policies | ✓ | - | - | - | - | - |
| Backup management | ✓ | - | - | - | - | - |
| My Task | - | ✓ | - | - | ✓ | ✓ |
| Filters View | - | ✓ | ✓ | ✓ | ✓ | ✓ |
| Filters Upload | - | ✓ | - | - | ✓ | - |
| Filters Review | - | - | ✓ | - | - | - |
| Filter Approve | - | - | - | ✓ | - | - |
| PM Schedule View | - | ✓ | ✓ | ✓ | ✓ | ✓ |
| PM Schedule Upload | - | ✓ | - | - | ✓ | - |
| PM Schedule Review | - | - | ✓ | - | - | - |
| PM Schedule Approve | - | - | - | ✓ | - | - |
| Replacement List View | - | ✓ | ✓ | - | ✓ | ✓ |
| Replacement List Upload | - | ✓ | - | - | ✓ | - |
| Replacement List Review | - | - | ✓ | - | - | - |
| Replacement List Approve | - | - | - | ✓ | - | - |
| Filter Replacement Activity | - | - | - | - | - | ✓ |
| Retirement List View | - | ✓ | ✓ | - | ✓ | - |
| Filter Retirement Activity | - | ✓ | ✓ | - | ✓ | - |
| Equipment Groups (Add/Modify) | - | ✓ | ✓ | - | ✓ | - |
| Reports View | - | ✓ | ✓ | ✓ | ✓ | - |
| Filter Cleaning Record/Report, View | - | ✓ | ✓ | ✓ | ✓ | - |
| Filter Life Cycle Record/Report, View | - | ✓ | ✓ | ✓ | ✓ | - |
| QNN (Quality Notification Number) Record/Report, View | - | ✓ | ✓ | ✓ | ✓ | - |
| RFID Track Record/Report, View | - | ✓ | ✓ | - | ✓ | ✓ |
| Audit Trail View | ✓ | - | ✓ | ✓ | - | - |
| Audit Trail Record/Report | - | - | ✓ | ✓ | - | - |
| Deviations Record/Report, View | - | ✓ | ✓ | ✓ | ✓ | - |
| Tab Operations |  |  |  |  |  |  |
| Login | - | ✓ | - | - | ✓ | ✓ |
| Cleaning Operations | - | ✓ | - | - | ✓ | ✓ |
| Replacement Filters | - | ✓ | - | - | ✓ | ✓ |
| RFID Assign/Unassign | - | ✓ | - | - | ✓ | ✓ |
| My Tasks | - | ✓ | - | - | ✓ | ✓ |
| Filter Status | - | ✓ | - | - | ✓ | ✓ |
| Replacement Tasks | - | ✓ | - | - | ✓ | ✓ |